coshh reg 9 text form

APPENDIX 1

PARTIAL ENCLOSURES

AddiTIONAL INFORMATION SPECIFIC TO FUME CUPBOARDS AND OTHER PARTIAL ENCLOSURES

| ## a.1 System & Hood Details |  |
| --- | --- |
| SYSTEM ID |  |
| HOOD ID: |  |
| Location: |  |
| Description: (inc Name/Type of Unit) |  |
| Category: |  |
| Process & Contents (at time of Inspection): |  |
| Discharge Arrangement: |  |
| Photographs: |  |

| ## B.1 visual inspection REPORT |  |
| --- | --- |
| Condition of: Sash glazing, Runners, Inner Work Surfaces: |  |
| Baffle: Condition? Correctly set? Obstructed? |  |
| Sash: Sash Opening Height Limit Stop fitted? Stop Height Labelled/Marked? Sash Height at Stop (mm)? |  |

|  |  | C1. FACE VELOCITY MEASUREMENTS |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Size of Opening: |  |  |  |  |  |  |  |  |  |  |  |  |
| Cell Size Chosen: |  |  |  |  |  |  |  |  |  |  |  |  |
| No. Readings Taken: |  |  |  |  |  |  |  |  |  |  |  |  |
| Face Velocity – Individual Readings |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Average Face Velocity |  |  |  |  |  | m/s |  |
|  |  |  |  |  | High Limit (+20%) |  |  |  |  |  | m/s |  |
|  |  |  |  |  | Low Limit (-20%) |  |  |  |  |  | m/s |  |
| Comment on Airflow Distribution: |  |  |  |  |  |  |  |  |  |  |  |  |

## D1 REFERENCES

HSG258; Controlling airborne contaminates at work. A guide to local exhaust ventilation (LEV); HSE Books

BS EN 14175 Parts 1 – 7 Fume Cupboards

BS 7989:2001 – Recirculatory Fume Cupboards

BS EN 12469/BS 5726 – Microbiological Safety Cabinets